## Downspout Main Calculator
|  |  |  | SW Pipe Sizes | DW Pipe Sizes
|  |  |  | 15 | 24
|  |  |  | 12 | 18
|  |  |  | 10 | 15
Inputs |  |  |  | 8 | 12
|  |  |  | 6 | 10
| Size Mainline Based On | Rainfall |  | 5 | 8
|  |  |  | 4 | 6
| Nearest State/City | Minnesota – Minneapolis |  | 3 | 4
| 100-yr, 1 hr Rainfall Intensity | 3.1 | in/hr
| Downspout Size | 2 x 3 | in
| Rainfall Intensity | 3.5 | in/hr
| Choose from nearest state/city or input custom value from | historical rainfall data
| Number Of Downspouts Contributing To Mainline | 3 |  | Intermediate Calcs
| Roof Area | 1500 | ft2 | Total flow from roof runoff | 0.12153 | cfs
| Mainline Slope | 0.2 | in/ft |  | 54.5417 | gpm
| Total Number Of Downspouts For Roof Area | 2 |  | Flow per downspout | 0.060764 | cfs
| Number Of Downspouts Contributing to Mainline | 2 |  |  | 27.2708 | gpm
|  |  |  | Total flow for mainline | 0.12153 | cfs
| Mainline Slope | 0.1 | in/ft |  | 54.5417 | gpm
|  |  |  | Mainline size (SW) | 3.7778 | in
|  |  |  | Mainline size (DW) | 3.3915 | in
Outputs |  |  |  | Total flow from downspouts | 0.36094 | cfs
[5 empty] | 161.9887 | gpm
| Mainline Size (SW) | 4 | in | Mainline size (SW) | 4.9897 | in
| Mainline Size (SW) | 5 | in | Mainline size (DW) | 4.4795 | in
| Mainline Size (DW) | 4 | in
| Mainline Size (DW) | 6 | in
Pipe Slope

## French Drain Calculator
Inputs
|  | Pipe Size | 4 | in
|  | Pipe Type | Single Wall
|  | Vehicular Loading? | No
|  | Pipe Slope | 0.1 | in/ft
|  | Trench Length | 200 | ft
|  | Trench Width | 12 | in
|  | Stone Depth | 9 | in | Pipe size | Pipe OD | SW Mannings | DW Mannings | Area (ft^2) | Hydraulic Radius | Base stone | Trench width (vehicular loading) | Total pipe void per linear foot (cf)
|  | Minimum Recommended Stone Depth | 9 | in | 3 | 4 | 0.015 |  | 0.049087 | 0.0625 | 4 | 20 | 0.011574
[5 empty] | 4 | 5 | 0.015 | 0.012 | 0.087266 | 0.083333 | 4 | 21 | 0.012153
[5 empty] | 5 | 6 | 0.015 |  | 0.13635 | 0.10417 | 4 | 22 | 0.012731
|  | Outputs |  |  | 6 | 7 | 0.015 | 0.012 | 0.19635 | 0.125 | 4 | 23 | 0.01331
[5 empty] | 8 | 9 | 0.016 | 0.012 | 0.34907 | 0.16667 | 4 | 26 | 0.015046
|  | Recommended Minimum Base Stone | 4 | in
|  | Recommended Minimum Cover Height | 12 | in
|  | Estimated Stone Quantity | 162.3264 | cf | Mannings | 0.015
[5 empty] | Area | 0.087266
|  | Estimated Non-Woven Fabric | 880 | sqft | Hydraulic radius | 0.083333
|  | Maximum Flow Rate | 0.15097 | cfs
|  |  | 67.7564 | gpm
Note: | The maximum flow rate reflects that of a completely full pipe. Depending on the soil properties and total length of pipe, the pipe may not reach full capacity through infiltration only.
Pipe Slope
Trench Layout

## IPC Values (hidden)
|  | Horizontal Gutter Sizing (International Plumbing Code Table 1106.6) |  |  |  |  | Vertical Leader Sizing (International Plumbing Code Table 1106.3)
State/City | 100 yr Intersity (in/hr) | Gutter shape | Nominal Size (in) | Slope (in/ft) | Capacity (gpm) | Capacity (cfs) | Shape | Dimensions | Capacity (gpm) | Capacity (cfs)
Alabama – Birmingham | 3.8 | K-Shape | 5 | 0.25 | 157 | 0.3498 | Rectangular | 2.5 x 2.5 | 54 | 0.12031
Alabama – Huntsville | 3.6 | K-Shape | 5 | 0.5 | 225 | 0.5013 | Rectangular | 2 x 3 | 54 | 0.12031
Alabama – Mobile | 4.6 | K-Shape | 6 | 0.25 | 348 | 0.77535 | Rectangular | 3 x 4 | 192 | 0.42778
Alabama – Montgomery | 4.2 | K-Shape | 6 | 0.5 | 494 | 1.1006 | Rectangular | 4 x 5 | 360 | 0.80208
Alaska – Fairbanks | 1 | Half-Round | 5 | 0.125 | 74 | 0.16487 | Round | 2 | 30 | 0.06684
Alaska – Juneau | 0.6 | Half-Round | 6 | 0.125 | 110 | 0.24508 | Round | 3 | 92 | 0.20498
Arizona – Flagstaff | 2.4 | [5 empty] | Round | 4 | 192 | 0.42778
Arizona – Nogales | 3.1 | [5 empty] | Round | 5 | 360 | 0.80208
Arizona – Phoenix | 2.5 | [5 empty] | Round | 6 | 563 | 1.2544
Arizona – Yuma | 1.6
Arkansas – Fort Smith | 3.6
Arkansas – Little Rock | 3.7
Arkansas – Texarkana | 3.8
California – Barstow | 1.4
California – Crescent City | 1.5
California – Fresno | 1.1
California – Los Angeles | 2.1
California – Needles | 1.6
California – Placerville | 1.5
California – San Fernando | 2.3
California – San Francisco | 1.5
California – Yreka | 1.4
Colorado – Craig | 1.5
Colorado – Denver | 2.4
Colorado – Durango | 1.8
Colorado – Grand Junction | 1.7
Colorado – Lamar | 3
Colorado – Pueblo | 2.5
Connecticut – Hartford | 2.7
Connecticut – New Haven | 2.8
Connecticut – Putnam | 2.6
Delaware – Georgetown | 3
Delaware – Wilmington | 3.1
District of Columbia – Washington | 3.2
Florida – Jacksonville | 4.3
Florida – Key West | 4.3
Florida – Miami | 4.7
Florida – Pensacola | 4.6
Florida – Tampa | 4.5
Georgia – Atlanta | 3.7
Georgia – Dalton | 3.4
Georgia – Macon | 3.9
Georgia – Savannah | 4.3
Georgia – Thomasville | 4.3
Hawaii – Hilo | 6.2
Hawaii – Honolulu | 3
Hawaii – Wailuku | 3
Idaho – Boise | 0.6
Idaho – Lewiston | 1.1
Idaho – Pocatello | 1.2
Illinois – Cairo | 3.3
Illinois – Chicago | 3
Illinois – Peoria | 3.3
Illinois – Rockford | 3.2
Illinois – Springfield | 3.3
Indiana – Evansville | 3.2
Indiana – Fort Wayne | 2.9
Indiana – Indianapolis | 3.1
Iowa – Davenport | 3.3
Iowa – Des Moines | 3.4
Iowa – Dubuque | 3.3
Iowa – Sioux City | 3.6
Kansas – Atwood | 3.3
Kansas – Dodge City | 3.3
Kansas – Topeka | 3.7
Kansas – Wichita | 3.7
Kentucky – Ashland | 3
Kentucky – Lexington | 3.1
Kentucky – Louisville | 3.2
Kentucky – Middlesboro | 3.2
Kentucky – Paducah | 3.3
Louisiana – Alexandria | 4.2
Louisiana – Lake Providence | 4
Louisiana – New Orleans | 4.8
Louisiana – Shreveport | 3.9
Maine – Bangor | 2.2
Maine – Houlton | 2.1
Maine – Portland | 2.4
Maryland – Baltimore | 3.2
Maryland – Hagerstown | 2.8
Maryland – Oakland | 2.7
Maryland – Salisbury | 3.1
Massachusetts – Boston | 2.5
Massachusetts – Pittsfield | 2.8
Massachusetts – Worcester | 2.7
Michigan – Alpena | 2.5
Michigan – Detroit | 2.7
Michigan – Grand Rapids | 2.6
Michigan – Lansing | 2.8
Michigan – Marquette | 2.4
Michigan – Sault Ste. Marie | 2.2
Minnesota – Duluth | 2.8
Minnesota – Grand Marais | 2.3
Minnesota – Minneapolis | 3.1
Minnesota – Moorhead | 3.2
Minnesota – Worthington | 3.5
Mississippi – Biloxi | 4.7
Mississippi – Columbus | 3.9
Mississippi – Corinth | 3.6
Mississippi – Natchez | 4.4
Mississippi – Vicksburg | 4.1
Missouri – Columbia | 3.2
Missouri – Kansas City | 3.6
Missouri – Springfield | 3.4
Missouri – St. Louis | 3.2
Montana – Ekalaka | 2.5
Montana – Havre | 1.6
Montana – Helena | 1.5
Montana – Kalispell | 1.2
Montana – Missoula | 1.3
Nebraska – North Platte | 3.3
Nebraska – Omaha | 3.8
Nebraska – Scottsbluff | 3.1
Nebraska – Valentine | 3.2
Nevada – Elko | 1
Nevada – Ely | 1.1
Nevada – Las Vegas | 1.4
Nevada – Reno | 1.1
New Hampshire – Berlin | 2.5
New Hampshire – Concord | 2.5
New Hampshire – Keene | 2.4
New Jersey – Atlantic City | 2.9
New Jersey – Newark | 3.1
New Jersey – Trenton | 3.1
New Mexico – Albuquerque | 2
New Mexico – Hobbs | 3
New Mexico – Raton | 2.5
New Mexico – Roswell | 2.6
New Mexico – Silver City | 1.9
New York – Albany | 2.5
New York – Binghamton | 2.3
New York – Buffalo | 2.3
New York – Kingston | 2.7
New York – New York | 3
New York – Rochester | 2.2
North Carolina – Asheville | 4.1
North Carolina – Charlotte | 3.7
North Carolina – Greensboro | 3.4
North Carolina – Wilmington | 4.2
North Dakota – Bismarck | 2.8
North Dakota – Devils Lake | 2.9
North Dakota – Fargo | 3.1
North Dakota – Williston | 2.6
Ohio – Cincinnati | 2.9
Ohio – Cleveland | 2.6
Ohio – Columbus | 2.8
Ohio – Toledo | 2.8
Oklahoma – Altus | 3.7
Oklahoma – Boise City | 3.3
Oklahoma – Durant | 3.8
Oklahoma – Oklahoma City | 3.8
Oregon – Baker | 0.9
Oregon – Coos Bay | 1.5
Oregon – Eugene | 1.3
Oregon – Portland | 1.2
Pennsylvania – Erie | 2.6
Pennsylvania – Harrisburg | 2.8
Pennsylvania – Philadelphia | 3.1
Pennsylvania – Pittsburgh | 2.6
Pennsylvania – Scranton | 2.7
Rhode Island – Block Island | 2.75
Rhode Island – Providence | 2.6
South Carolina – Charleston | 4.3
South Carolina – Columbia | 4
South Carolina – Greenville | 4.1
South Dakota – Buffalo | 2.8
South Dakota – Huron | 3.3
South Dakota – Pierre | 3.1
South Dakota – Rapid City | 2.9
South Dakota – Yankton | 3.6
Tennessee – Chattanooga | 3.5
Tennessee – Knoxville | 3.2
Tennessee – Memphis | 3.7
Tennessee – Nashville | 3.3
Texas – Abilene | 3.6
Texas – Amarillo | 3.5
Texas – Brownsville | 4.5
Texas – Dallas | 4
Texas – Del Rio | 4
Texas – El Paso | 2.3
Texas – Houston | 4.6
Texas – Lubbock | 3.3
Texas – Odessa | 3.2
Texas – Pecos | 3
Texas – San Antonio | 4.2
Utah – Brigham City | 1.2
Utah – Roosevelt | 1.3
Utah – Salt Lake City | 1.3
Utah – St. George | 1.7
Vermont – Barre | 2.3
Vermont – Bratteboro | 2.7
Vermont – Burlington | 2.1
Vermont – Rutland | 2.5
Virginia – Bristol | 2.7
Virginia – Charlottesville | 2.8
Virginia – Lynchburg | 3.2
Virginia – Norfolk | 3.4
Virginia – Richmond | 3.3
Washington – Omak | 1.1
Washington – Port Angeles | 1.1
Washington – Seattle | 1.4
Washington – Spokane | 1
Washington – Yakima | 1.1
West Virginia – Charleston | 2.8
West Virginia – Morgantown | 2.7
Wisconsin – Ashland | 2.5
Wisconsin – Eau Claire | 2.9
Wisconsin – Green Bay | 2.6
Wisconsin – La Crosse | 3.1
Wisconsin – Madison | 3
Wisconsin – Milwaukee | 3
Wyoming – Cheyenne | 2.2
Wyoming – Fort Bridger | 1.3
Wyoming – Lander | 1.5
Wyoming – New Castle | 2.5
Wyoming – Sheridan | 1.7
Wyoming – Yellowstone Park | 1.4

## Downspout Main Bones (hidden)
INPUTS
Location | Zip code?
Roof area contributing to mainline | sf |  |  | Pipe size | Pipe OD | SW Mannings | DW Mannings | Area (ft^2) | Hydraulic Radius
Roof slope |  |  |  | 3 | 4 | 0.015 |  | 0.049087 | 0.0625
|  |  |  | 4 | 5 | 0.015 | 0.012 | 0.087266 | 0.083333
Gutter style | K-shape |  |  | 5 | 6 | 0.015 |  | 0.13635 | 0.10417
| Half Round |  |  | 6 | 7 | 0.015 | 0.012 | 0.19635 | 0.125
Gutter size | 5 in |  |  | 8 | 9 | 0.016 | 0.012 | 0.34907 | 0.16667
6in
Downspout type | Rectangular
Round
"diameter and how deep the trench should be to accommodate for that size of pipe"
2x3
3x4
3in
4in
5in
6in
|  | Area | 0.041667 | 0.083333
|  | mannings | 0.012 | 0.012
Mainline slope |  | Hydraulic Radius | 0.071429 | 0.1
|  | Slope | 0.4 | 0.8
|  | Flow (cfs) | 0.5633 | 1.9939
Knowns |  | Flow (gpm) | 252.8083 | 894.8597
Gutter slope
Downspout slope
Intermittent Calcs
Maximum flow rate |  |  | 0.40086
0.5
https://codes.iccsafe.org/content/IPC2018P5/chapter-11-storm-drainage#IPC2018P5_Ch11_Sec1105.1
OUTPUTS
SW mainline pipe size
DW mainline pipe size
Trench depth??